| Date : | Scan : Email: |
| --- | --- |
| Client : | Inspector : |
| City , State : | Time : |
| Job Site : | Contact (PRINT) : |
| Photos : | Client’s Signature : |

| ITEMS | RECOMMENDATIONS / COMMENTS | DATE REPAIRED |
| --- | --- | --- |
| GENERAL: ( ( STATE AND FEDERAL POSTERS ------- OSHA LOGS ------- SAFETY MANUAL ------- BARRICADE AND FENCE CONDITION ------- ADEQUATE STEPS AT JOB SITE TRAILER ------- |  |  |
| FIRE HAZARDS: ( ( FIRE EXTINGUISHERS(1 *3000 sq ft., stairwells) ------- EXITS (marked, accessible) ------- GAS / DIESEL (SAFETY CANS >1 GAL) ------- <25 GALLONS OUTSIDE OF CABINET ------- NO FLAMMABLES STORED UNDER STAIRS ------- NO LPG IN BUILDING ------- |  |  |
| HAZCOM: ( ( MSDS ------- HAZ MATERIALS LABELED ------- PROPER CONTAINERS ------- |  |  |
| FIRST AID: ( ( F.A. KIT / BBP KIT -------- CPR CERTIFICATIONS ------- |  |  |
| ELECTRICAL: ( ( EXTENSION CORDS ------- PANELS -------- ELECTRICAL ROOMS (locked, protected) ------ GFCI -------- WARNING SIGNS ------- TEMP LIGHTING ------- |  |  |
| WELDING & CUTTING: ( ( BOTTLES (secured and stored properly) ------- PROPER VENTILATION -------- HOSE CONDITION -------- FLASHBACK ARRESTOR -------- EXTINGUISHER NEARBY ------- GAUGES ------ |  |  |
| HAND & POWER TOOLS: ( ( CONDITION ------- GUARDS -------- INSULATED ------- POWDER ACTUATED ------- |  |  |
| STAIRS: ( ( SURFACE (treaded, pan filled) ------- HANDRAILS -------- LIGHTED -------- |  |  |
| LADDERS: ( ( CONDITION ------ UNSAFE PRACTICES ------ 3’ BEYOND WORKING SURFACE (secured) ------ DOUBLE CLEATED LADDER 25+ WORKERS ------ NON CONDUCTIVE SIDERAILS ------ |  |  |
| HOUSEKEEPING / SANITATION ( ( GENERAL AREA ------- WALKWAYS ------- COMMODES ------- ILLUMINATION ------- POTABLE DRINKING WATER (cups provided) ------- WASTE COLLECTION ------ |  |  |
| LO / TO: ( ( LOCKS ------- TAGS -------- OTHER --------- |  |  |
| CRANES: ( ( CURRENT INSPECTION -------- RIGGING EQUIPMENT -------- CHARTS (LOAD, HAND SIGNALS -------- OUTRIGGERS (Barricaded, Proper Sills) ------- NO ELECTRICAL HAZARDS ------- |  |  |
| PERSONAL PROTECTION: ( ( HEAD -------- FOOT -------- FALL ------GLOVES -------- EYE ------- RESPIRATORY (MED EVAL/FIT TEST) ------- OTHER -------- |  |  |
| EQUIPMENT: ( ( INDUSTRIAL TRUCKS -------- AERIAL LIFT -------- SCISSOR LIFTS -------- BULL DOZIER -------- EXCAVATOR -------- BACK HOE -------- |  |  |
| CONFINED SPACE: ( ( HAZARD CONTROL ------- SAFE PRACTICES -------- PERMIT -------- RESCUE > 5’ -------- HOLE WATCH ------- LABELED ------- |  |  |
| DEMOLITION: ( ( ENGINEERING SURVEY IN WRITING ------ UTILITIES (Shut Off, Capped, Controlled) ------ OPENINGS PROTECTED (Wall >42”, Floor) ------ MATERIAL DISPOSAL (Chutes, Holes Barricaded) ------ SHORING REQUIRED FOR ADJACENT BLDGS ----- ASBESTOS (Abatement, Monitoring, PPE) ------ |  |  |
| MATERIAL HANDLING AND STORAGE: ( ( STORAGE: >6’ inside, >10’ exterior wall ------ BRICKS <7’ HIGH ------ LUMBER (Nails removed, <16’ high, Stable) ------ BLOCKS (<6’ high or tapered back one half block ^6’ ------ STORED WITHIN RATED FLOOR DESIGN ------ RIGGING EQUIPMENT ------ |  |  |
| SCAFFOLDS: ( ( TAGGED, ACCESS, FOOTING ------- GAURDRAIL (>10’) UNLESS SPECIFIED -------- PLANKING (FULLY DECKED, CONDITION) ------- SECURED (4x SMALLEST BASE & 26’V &30’H) ----- CASTERS (Locked, Condition, Indoors) ------ |  |  |
| TRENCHING: ( ( PROPER EGRESS (=>4’) ------- =>5’ PROTECTION -------- BENCHED / SLOPED ------- SPOILS ( 2 ‘ FROM TRENCH -------- CONTROLLED WATER ACCUMULATION ------ |  |  |
| CONCRETE & MASONRY: ( ( LIMITED ACESS WALL (LAZ) ------- >8’ BRACED ------- REBAR CAPS (STEEL PLATE INSERT) ------- SAWS AND MIXERS GUARDED ------ TROWELLS AUTOMATICALLY SHUT OFF ------ |  |  |
| ROOFING: ( ( WARNING LINE PROVIDED >6’ FROM EDGE ------- FALL PROTECTION PROVIDED AT EDGE ------- MATERIAL STORED 6’ FROM EDGE ------- ADEQUATE ACCESS ------ OPENINGS COVERED AND SECURED ------ |  |  |
| FLOORS AND WALLS: ( ( SURFACE CONDITIONS (Nails, Slippery) ------ ALL HOLES (>2”) COVERED AND SECURED ------ WALL OPENINGS BARRICADED |  |  |
| STEEL ERECTION: ( ( FALL PROTECTION >15’/>30’ CONTROLLED DECK ------ SLAG CONTROL/FIRE EXTINGUISHER ------ ACCESSIBLE SITE ------ CONCRETE ENGINEER DOCUMENTATION ------ COLUMNS ANCHORED BY FOUR BOLTS ------ |  |  |
| OTHER COMMENTS LIST AS NEEDED: |  |  |

# Text boxes

Construction Site Inspection

( = OK

X = NEEDS ATTENTION

(= NO VISIABLE ISSUES

(= Non-Applicable

STAMP DATE: _____

COPY GIVEN: _____  YES

_____  NO